Left: top view of the 4-channel differential amplifier. Right: Input voltage noise measurements. The commercially available amplifier LI-75 is shown for comparison.

- extraordinarily low input voltage noise

- internal supply voltage very well stabilized, nearly no powerline noise is coupled to the input.

- 4 channels, AC coupled

- typical application: measurement of a hall-bar voltage

| Specifications | Range | Unit / Conditions |
| --- | --- | --- |
| Input voltage noise | 5 (3 optional) | nV/Sqrt(Hz) @ 1Hz |
|  | 1.1 1 1 | nV/Sqrt(Hz) @ 10Hz nV/Sqrt(Hz) @ 100Hz nV/Sqrt(Hz) @ 1KHz |
| Input current noise Input difference voltage CMRR Input Impedance Voltage Gain Power consumption | 7 1 100 470 1000 ± 15 V, 0.17 A | fA/Sqrt(Hz) @ 10Hz mV max dB @ 100 Hz MOhm, AC coupled suitable power supply included |