## Plate
| 96 well plate | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | d | Sample9 | etc | etc | etc | etc | etc | H20 | H20 | H20 | H20 | H20
| B | f | Sample10 | etc | etc | etc | etc | etc | H20 | H20 | H20 | H20 | H20
| C | e | Sample11 | etc | etc | etc | etc | etc | H20 | H20 | H20 | H20 | H20
| D | Sample4 | Sample12 | etc | etc | etc | etc | etc | H2O | H20 | H20 | H20 | H20
| E | Sample5 | Sample13 | etc | etc | etc | etc | etc | H20 | H20 | H20 | H20 | H20
| F | Sample6 | PP14 | etc | etc | etc | etc | etc | H20 | H20 | H20 | H20 | H20
| G | Sample7 | Sample15 | etc | etc | etc | etc | etc | H20 | H20 | H20 | H20 | H20
| H | Sample8 | Sample16 | etc | etc | etc | etc | etc | H20 | H20 | H20 | H20 | H20
| Sequencing (SEQ) | 8: Fragment Analysis (FA)
| Container Name | 3: Results Group 1; 8: Container Name; 11: Results Group 1
| nameofyourplate_seebelow | 3: yourProjectnumber_SEQ; 8: nameofyourplate_seebelow; 11: yourProjectNumber_FA
| Instrument Protocol 1 | 3: Analysis Protocol 1; 8: Instrument Protocol 1; 11: Size Standard
| Sequencing_BDv31_36cm_POP7 | 3: 3730BDTv3-KB-DeNovo_v5.2; 8: Frag_G5_POP7_36; 11: none
| Owner | 3: Operator; 8: Owner; 11: Operator
| your name | 3: your name; 8: your name; 11: your name
| PlateSealing | 3: SchedulingPref; 8: PlateSealing; 11: SchedulingPref
| septa | 3: 1234; 8: septa; 11: 1234
| Comment | 8: Comment
| no_comment | 8: no_comment
Complete the colored fields with your informations
for Sequences the green and the orange fields, for Fragment Analysis the green and the blue fields.
Step 1 | Enter the sample names in the green fields (plate); don't use spaces or special characters
Step 2 | Give your PLATE/container a name with this format: yourProjectNumber_yourInitials_YearMonthDay_Platename e.g. p12_PM_191105_primerACT_forward
Step 3 | Indicate your Results Group folder name; yourProjectnumber_SEQ and yourProjectnumber_FA e.g. p12_SEQ and p12_FA
Step 4 | Provide Owner and Operater name; e.g. Erika Muster
Step 5 | Optional: add a comment or description
Step 6 | Click on the worksheet, SEQ_inputfile or FA_inputfile, and save them as a Text (Windows) if you are a MAC user or as Text (Tab delimited) if you are a Windows user. The file name should be identical as the container name. That's it!
| Make sure that: | 11: © by Gabriella Parravicini
-Plate/container and Results Group have always your Projectnumber first and no blanks in it.
-fill empty positions in the plate with H20
-the name on your plate correspond to the name you fill in the plate/container field here
-make sure that the security level of the macro is low
Infos:
Dye sets: Sequencing Z-BigDye V3 (don't use V1.1), Fragment Analysis G5-RCT (DS-33) and Any4dye (DS-30)
Instrument Protocol 1:
-Sequencing: for default choose Sequencing_BDv31_36cm_POP7 (run time 40 min., run_voltage 8.5; read ~800bp); for faster sequences FastSeq_36cm_POP7 (run time 18 min., run_voltage 13.2: read ~700bp)
-Fragment Analysis: as default choose Frag_G5_POP7_36 (10 sec injection time, run time 20 min.)
For troubleshooting purposes we recommend that you also have this completed Excel file at hand when you bring your samples!

## Fragment analysis
Container Name | Plate ID | Description | ContainerType | AppType | Owner | Operator | PlateSealing | SchedulingPref
nameofyourplate_seebelow | nameofyourplate_seebelow |  | 96-Well | Regular | your name | your name | septa | 1234
AppServer | AppInstance
GeneMapper | GeneMapper_Generic_Instance
Well | Sample Name | Comment | Size Standard | Snp Set | User-Defined 3 | User-Defined 2 | User-Defined 1 | Panel | Study | Sample Type | Analysis Method | Results Group 1 | Instrument Protocol 1
A1 | d |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
B1 | f |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
C1 | e |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
D1 | Sample4 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
E1 | Sample5 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
F1 | Sample6 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
G1 | Sample7 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
H1 | Sample8 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
A2 | Sample9 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
B2 | Sample10 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
C2 | Sample11 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
D2 | Sample12 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
E2 | Sample13 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
F2 | PP14 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
G2 | Sample15 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
H2 | Sample16 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
A3 | etc |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
B3 | etc |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
C3 | etc |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
D3 | etc |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
E3 | etc |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
F3 | etc |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
G3 | etc |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
H3 | etc |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
A4 | etc |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
B4 | etc |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
C4 | etc |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
D4 | etc |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
E4 | etc |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
F4 | etc |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
G4 | etc |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
H4 | etc |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
A5 | etc |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
B5 | etc |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
C5 | etc |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
D5 | etc |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
E5 | etc |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
F5 | etc |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
G5 | etc |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
H5 | etc |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
A6 | etc |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
B6 | etc |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
C6 | etc |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
D6 | etc |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
E6 | etc |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
F6 | etc |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
G6 | etc |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
H6 | etc |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
A7 | etc |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
B7 | etc |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
C7 | etc |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
D7 | etc |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
E7 | etc |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
F7 | etc |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
G7 | etc |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
H7 | etc |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
A8 | H20 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
B8 | H20 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
C8 | H20 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
D8 | H2O |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
E8 | H20 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
F8 | H20 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
G8 | H20 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
H8 | H20 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
A9 | H20 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
B9 | H20 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
C9 | H20 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
D9 | H20 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
E9 | H20 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
F9 | H20 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
G9 | H20 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
H9 | H20 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
A10 | H20 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
B10 | H20 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
C10 | H20 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
D10 | H20 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
E10 | H20 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
F10 | H20 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
G10 | H20 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
H10 | H20 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
A11 | H20 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
B11 | H20 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
C11 | H20 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
D11 | H20 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
E11 | H20 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
F11 | H20 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
G11 | H20 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
H11 | H20 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
A12 | H20 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
B12 | H20 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
C12 | H20 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
D12 | H20 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
E12 | H20 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
F12 | H20 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
G12 | H20 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36
H12 | H20 |  | none | [8 empty] | yourProjectNumber_FA | Frag_G5_POP7_36

## Sequencing
Container Name | Plate ID | Description | ContainerType | AppType | Owner | Operator | PlateSealing | SchedulingPref
nameofyourplate_seebelow | nameofyourplate_seebelow |  | 96-Well | Regular | your name | your name | septa | 1234
AppServer | AppInstance
SequencingAnalysis
Well | Sample Name | Comment | Results Group 1 | Instrument Protocol 1 | Analysis Protocol 1
A1 | d | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
B1 | f | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
C1 | e | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
D1 | Sample4 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
E1 | Sample5 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
F1 | Sample6 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
G1 | Sample7 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
H1 | Sample8 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
A2 | Sample9 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
B2 | Sample10 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
C2 | Sample11 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
D2 | Sample12 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
E2 | Sample13 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
F2 | PP14 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
G2 | Sample15 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
H2 | Sample16 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
A3 | etc | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
B3 | etc | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
C3 | etc | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
D3 | etc | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
E3 | etc | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
F3 | etc | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
G3 | etc | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
H3 | etc | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
A4 | etc | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
B4 | etc | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
C4 | etc | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
D4 | etc | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
E4 | etc | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
F4 | etc | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
G4 | etc | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
H4 | etc | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
A5 | etc | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
B5 | etc | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
C5 | etc | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
D5 | etc | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
E5 | etc | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
F5 | etc | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
G5 | etc | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
H5 | etc | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
A6 | etc | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
B6 | etc | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
C6 | etc | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
D6 | etc | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
E6 | etc | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
F6 | etc | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
G6 | etc | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
H6 | etc | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
A7 | etc | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
B7 | etc | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
C7 | etc | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
D7 | etc | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
E7 | etc | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
F7 | etc | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
G7 | etc | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
H7 | etc | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
A8 | H20 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
B8 | H20 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
C8 | H20 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
D8 | H2O | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
E8 | H20 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
F8 | H20 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
G8 | H20 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
H8 | H20 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
A9 | H20 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
B9 | H20 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
C9 | H20 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
D9 | H20 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
E9 | H20 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
F9 | H20 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
G9 | H20 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
H9 | H20 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
A10 | H20 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
B10 | H20 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
C10 | H20 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
D10 | H20 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
E10 | H20 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
F10 | H20 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
G10 | H20 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
H10 | H20 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
A11 | H20 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
B11 | H20 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
C11 | H20 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
D11 | H20 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
E11 | H20 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
F11 | H20 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
G11 | H20 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
H11 | H20 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
A12 | H20 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
B12 | H20 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
C12 | H20 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
D12 | H20 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
E12 | H20 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
F12 | H20 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
G12 | H20 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2
H12 | H20 | no_comment | yourProjectnumber_SEQ | Sequencing_BDv31_36cm_POP7 | 3730BDTv3-KB-DeNovo_v5.2